Hydro-prop Conversion Chart
The operating principle of the "Hydro Prop" is simple reliable and accurate. The impeller is moved along a brass studding by the velocity of the water for a pre determined length. This travel is accurately timed on a stopwatch and the result tabulated and checked against a calibration graph provided. By applying this principle to a section of river the "Hydro Prop" can be used to measure the velocity at any pre determined depth. This is achieved by moving the head clamp block along the graduated stem. From these measurements, a velocity vertical and cross-sectional profile, for a small stream may be calculated, thus illistrating the effect of of bed and bank friction.
V=0.0277+(3.2805/T)
[image: image1.emf]
[image: image2.emf]
